عطاء رقم 7 / ل م / 2020

توريد وتركيب وتشغيل جهاز كيمياء الدم / المركز الصحي

|  | Item 1 |  |  |  | Fully Automated Bench top Clinical Chemistry Analyzer |  | Qty. (1) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

IMPORTANT NOTE:

Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below

TECHNICAL SPECIFICATIONS:

The unit must meet or exceed the requirements listed in the table below.

Product Details

Name of Manufacturer

Model/ catalogue number

Country of Origin for the offered model

Country where the manufacturer is based

Delivery time

Full warranty period

FDA clearance OR CE Mark

| Brochure page NO. | Compliance )Y/N) , Notes | Minimum Requirements |  |
| --- | --- | --- | --- |
|  |  | Brand new Fully automated heavy-duty bench top clinical chemistry analyzer with Discrete and random access processing for routine analysis with stat facility |  |
|  |  | Accepts sample material of serum, plasma, urine |  |
|  |  | The system should consist of minimum 15 patient sample positions and stat position should be available . |  |
|  |  | Ready to use reagents ,no need to preparation. |  |
|  |  | No manual pre-treatment of whole blood samples |  |
|  |  | Continuous loading no need to stop the system and Reagents . |  |
|  |  | Electrolyte channels to include Na+,K+,Cl- |  |
|  |  | The reagent disk consists of a minimum of 20 reagent positions. |  |
|  |  | A minimum throughput of 100 tests/hour without ISE continuous loading . |  |
|  |  | Sample volume range : 2 – 100 µl and Reagent volume should be within the range but not more than 2 - 400 µl on board . |  |
|  |  | Sample tubes : primary tubes and cups |  |
|  |  | Automatic probe cleaning : to be included |  |
|  |  | Pre-installation shall be the sole responsibility of the supplier ,pre-installation shall include any civil work R.O water system, electrical work and UPS or site modifications necessary to accommodate the new system according to manufacturers specifications and safety standards . |  |
|  |  | User friendly software . |  |
|  |  | Computer interface and LCD screen. |  |
|  |  | High quality brand name Laser printer ( local supplied printers are accepted) |  |
|  |  | Minimal distilled /deionized water consumption . |  |
|  |  | Complete with built in refrigerated compartment ( cooling unit no external separate unit ). |  |
|  |  | It should support the connection to an internal LAN system or host computer as part of hospital information system or laboratory information system . |  |
|  |  | Bidirectional communication for hospital information system or laboratory information system . |  |

SPECIAL TERMS

- CE or FDA certificate

- Warranty:

Offers must include a full warranty including spare parts and labor for a period of a minimum of 24 months from the date of installation.

- One set of operation manual(s) and one set of service manual(s) including schematics and a spare-part list must be delivered with each unit, CD/DVD is acceptable.

- Pre-installation shall be the sole responsibility of the supplier. Pre-installation shall include removal of old system(s), any civil work, R.O water system, electrical work and UPS or site modification(s) necessary to accommodate the new system(s) according to manufacturers’ specifications and safety standards in addition to the work required for bringing back the site to the same working conditions as before installing the new system(s).

- Technical offers must include clear original technical brochures/catalogues for all offered items.

- Offers must include fully detailed technical offers and compliance sheets.

- Accessories and consumables:

Technical offers must include a priced list for accessories and consumables as a hard copy in addition to a soft copy with prices fixed for a period of five years from the date of installation .

- Spare Parts:

consumables and accessories availability must be guaranteed for a minimum period of ten years starting from the date of installation and commissioning.

- Spare parts, Pricing must include services of sale, shipment, transportation, delivery from port to site, installation, pre-installation (if needed), training, commissioning, warranty and bringing the equipment into service.

يلتزم الوكيل بالآتي :

- تقديم أسعار المواد التشغيلية ( reagents, consumables and disposables) لعمل كافة فحوصات الكيمياء ملتزم بها لمدة لا تقل عن خمس سنوات .

- تقديم قائمة مسعرة بجميع المواد والمستهلكات الضرورية لتشغيل الجهاز ولمدة خمس سنوات على الأقل غير قابلة لأي زيادة سنوية .

- تقديم شهادة من الشركة الصانعة تبين فيها عدد الفحوصات لكل kit  .

- يلتزم الوكيل المحلي بتقديم ما يثبت بأنه وكيل محلي معتمد للشركة الصانعة .